## Slide 1: Numerical Analysis of the Adaptive Solar Façade
Jeremias Schmidli
Supervisor: Prageeth Jayathissa

## Slide 2
The Adaptive Solar Façade (ASF)
Individually Actuated Panels
Combines Dynamic Shading with PV-Electricity Production
Needs to be Optimized for Cooling, Heating, Lighting, Actuation and PV-Electricity Production

## Slide 3
Overview
Introduction
Problem Description
Methodology
Results and Discussion
Conclusions and Outlook

## Slide 4
Problem Description
Optimization Problem
Minimize:

## Slide 5
Methodology
Combination Of Different Tools To Achieve Optimal Results
Minimize:
Notes: Add minimization problem

## Slide 6
Case Study
Single Zone Office
Simulation for One Year
Weather File for Kloten
Notes: Add minimization problem

## Slide 7
Radiation on Panels (Collaboration with Johannes)
Radiation Analysis with Ladybug
Includes Self-Shading
Insolation from 11:00-12:00 on June 16

## Slide 8
Optimum Orientation of Panels

## Slide 9
Net Energy Demand at Optimum Orientation

## Slide 10
Conclusions
Developed Simulation Framework for the ASF
Successfully combine PV-Electricity Production with Building Energy Demand
Optimal Angles for Single Cluster Found

## Slide 11
Outlook
Development of RC-Building Energy Simulation Tool (Collaboration with Mario and Amr)
Include detailed Efficiency Analysis of PV-Electricity Production (Collaboration with Johannes)
Include Energy-Use for Actuation in Simulation
Analyze Results for different Regions and Building Typologies
Use Multiple Clusters of PV-Panels

## Slide 12
Questions?
https://github.com/architecture-building-systems/ASF_Simulation

## Slide 13
Developed Simulation Framework for the ASF
Optimum Angle Combinations Found
Possibility to Include PV-Electricity Production

## Slide 14
Developed Simulation Framework for the ASF
Optimum Angle Combinations Found
Possibility to Include PV-Electricity Production

## Slide 16
Heating COP = 3 Cooling COP = 3 Lighting = 3 W/m2 PV-efficiency = 0.072

## Slide 17
Heating COP = 0.85 Cooling COP = 3 Lighting = 11.74 W/m2 PV-efficiency = 0.072

## Slide 18
Conclusions
Developed Simulation Framework for the ASF
Optimum Angle Combinations Found
Possibility to Include PV-Electricity Production

## Slide 19
Conclusions
Developed Simulation Framework for the ASF
Optimum Angle Combinations Found
Possibility to Include PV-Electricity Production

## Slide 20
Conclusions
Developed Simulation Framework for the ASF
Optimum Angle Combinations Found
Possibility to Include PV-Electricity Production